## Slide 1
Prepare solvated solute box
Run restrained MD simulation
Neat solvent box for accurate referencing
Run unrestrained MD simulation
1. MD Simulation
Add missing atoms
Check protonation states
Select force field
Add solvent At least 10-15Å buffer or 3 solvation layers depending on solvent
Optional: create neat solvent box and determine NN entropy bias
Restrain heavy atoms for solute simulation Harmonic restraint potential with kr =10 - 100 kcal mol-1 Å-2
Run simulation ≥10 ns (100 ns ideal) ≥ 10 000 frames (100 000 ideal)
Confirm rigidity of solute heavy atoms: Suggested RMSD ≤ 0.1Å
2. Prepare GIST settings
Determine reference water density Calculate reference from neat simulation or use tabulated value for the solvent model.
Determine grid size a) binding site b) full system c) 10 Å around region of interest
Determine voxel number For each cartesian direction, the number of voxels necessary is the length of the region of interest divided by the voxel side length (0.5 Å ).
3. Run GIST in cpptraj
Define region of interest
Calculate number of voxels necessary
Reimage and center MD trajectory
Set voxel number per axis
Calculate reference density of neat solvent
Run GIST
Prepare solute structure
Solute Trajectory
Calculate reference water-water energy
gist.dat
Neat Solvent Trajectory
Minimization & Equilibration
Save solute coordinates of first frame
gist.pdb
Solute structure
Optional
Define grid center if solute/region is not centered on origin

## Slide 2
4a. Postprocess & Analysis
Determine Use tabulated value, calculate from reference simulation or autoreference from outer grid voxels, if the grid is large enough (> 3 solvent layers)
Load gist.dat with gisttools Preset Eww,ref or use the autoreferencing. A pdb structure of the solute without water is necessary for this.
Check convergence of thermodynamic properties – integrated values should approach a fixed value with distance from the region of interest (see Figure 4)
Optional: edit voxel data For example, apply the empirical entropy correction factor of 0.6.
Use “norm“ data to compare voxel to voxel
Use “dens“ data to integrate over voxels or for visualisation purposes
4b. Visualisation (optional)
If properties were modified or newly created, output density files for visualisation
Visualize .dx files e.g. with PyMOL or VMD
gist.dat
gist.pdb
Load with gisttools in python
Check convergence of
Converged?
Common fixes: Change
eference entropy
: More sampling
“norm“ data
“dens“ data
Compare voxels on a per-solvent basis
Integrate over grid volumes to calculate thermodynamic data
Output .dx files
Isosurfaces
Volumes
Mesh grids
Load .dx files into visualisation software
Visualize thermodynamic densities
Edit voxel data
optional
yes
no
Isodots